## Slide 1: Atmospheric Sciences 370 Observing Systems Winter 2022

## Slide 2: ASOS: Automated Surface Observing System Backbone Observing System in the U.S.

## Slide 3: ASOS
Located at primary and secondary airports
Supported by the FAA and NWS
High quality instrumentation that is well maintained and calibrated.
Reported in METAR format (more later)

## Slide 5
Hydrothermograph

## Slide 6
Precipitation Gauges
Many are shielded

## Slide 7: Some Even with Double Shields
Shields reduces wind and turbulent eddies around gauges than can influence catch efficiency. Largest effect on snow.

## Slide 8
Laser Weather
Identifier
No human intervention!

## Slide 9
Acoustic Anemometer

## Slide 10
Anemometer
Wind Vane
No longer used in ASOS!
Suffered from icing.
Did not measure low speeds well.

## Slide 11
Laser Ceilometer
Ceiling is the height of the lowest cloud layer
Very important for aviation.

## Slide 13
UW Ceilometer

## Slide 14: Can Sense Wildfire Smoke

## Slide 15
The ASOS Freezing Rain Sensor
Uses an ultrasonically vibrating probe to detect the presence of icing conditions. The vibrating frequency of the probe decreases with the accumulation of ice.

## Slide 16
Lightning Sensor
Visibility Sensor

## Slide 17
Full ASOS system in Arizona

## Slide 18: METAR Format
ASOS data (and airport observations worldwide) are transmitted in METAR format.
Name came from the French words, MÉTéorologique ("Weather") Aviation Régulière ("Routine").
Example: KSEA 042353Z 11008KT 10SM FEW050 SCT070 OVC090 09/03 A2879 RMK AO2 SLP756 60001 T00940033 10117 20083 58013
Will learn more about it in Lab

## Slide 19: Observing Heights (ASOS and Most Official Obs)
Temperature and dew point (2-m)
Wind speed and direction (10-m)

## Slide 20: Many Other Surface Networks
Bureau of Land Management
RAWS
Agrimet
PAWS
Department of Ecology
Puget Sound Clean Air
BC Hydro
BC Olympics
Weather Underground
Many more!

## Slide 21
Oklahoma Mesonet

## Slide 22: New York Mesonet

## Slide 23
Networks of Networks
UW: We collect data from about 70 networks in real time over the Northwest
MesoWest: Collects about 100 networks over the western third of U.S.
MADIS: NOAA national collection of mesonets

## Slide 26
Pacific Northwest Surface Observations
3000-4000 observations per hour over WA and OR

## Slide 27: One of the best viewers of many networks: NOAA Weather/Hazards
https://www.wrh.noaa.gov/map/?obs=true&wfo=sew

## Slide 28: Global Surface Observation Coverage

## Slide 29: A lot more data over land/northern hemisphere

## Slide 30: Marine Weather and Surface Ocean Reports

## Slide 31
Ocean and Lake
Weather Buoys
Anchored

## Slide 32: Drifting Buoys
Wind
Pressure

## Slide 33
Coastal Marine (CMAN) Reports from the Coast Guard

## Slide 34
Northwest Buoy and CMAN Locations

## Slide 37
Ship Reports: Marine VOS Program
Volunteers Observers--generally 6-hourly reports
Highly variable quality and frequency

## Slide 39: Satellite Scatterometers: Microwave Scattering Off Ocean Waves: surface wind and direction

## Slide 40
QuickScat Satellite
Bounces microwaves off the ocean surface
Capillary waves dependent on wind speed and directon

## Slide 41
Satellite
Microwave
Scatterometer
Winds

## Slide 43: Satellite scatterometers

## Slide 44: Upper Air Data

## Slide 45
Radiosondes
First launched in 1929

## Slide 46: Radiosondes
Provides temperature, humidity (relative humidity, pressure, and wind speed/direction)
Generally launched twice a day (00 and 12 UTC).

## Slide 47: Radiosondes
A typical NWS radiosonde sounding ascent can last in excess of two hours.
In that time, the radiosonde can ascend to an altitude exceeding 35 km (about 115,000 feet) and drift more than 300 km (about 180 miles) from the release point.
Typical pressure at balloon burst about 5 hPa (1/200th of surface pressure).

## Slide 48: Generally twice a day at 00 and 12 UTC
About 1000 locations around the world

## Slide 49
Radar Wind Profiler and RASS (Radio Acoustic Sounding System)

## Slide 51
Seattle Profiler/RASS

## Slide 54
ACARS: Aircraft Observations
Generally on wide-body aircraft
Aircraft Communications Addressing and Reporting System

## Slide 55: Available at cruise altitude and ascent/descent.

## Slide 58: Now getting TAMDAR data from AIRDAT/Panasonic: Commuter and Short Haul Aircraft

## Slide 61: Weather Satellites Now Provide Roughly 99% of the Weather Data Going into Weather Prediction

## Slide 62: Satellite Data
Geostationary and Polar Orbiting Satellites

## Slide 63
GOES

## Slide 64: Geostationary Image

## Slide 65
Geostationary satellite see the whole hemisphere

## Slide 66
Putting them together, one can monitor the entire planet

## Slide 67
NOAA Polar
Orbiter Weather
Satellite

## Slide 68
Polar Orbiters Provide a High-Resolution View
A polar
low

## Slide 69: Weather Satellites Provide MUCH More Than Just Imagery

## Slide 70
Cloud and
Water Vapor
Track Winds
Based on Geostationary Weather Satellites

## Slide 72: Atmospheric Moisture Vectors from Satellites

## Slide 73
GOES sounder unit: observes atmosphere/earth’s emissions in several wavelengths

## Slide 74
Views the Earth
At many Wavelengths,
Each mainly sensing temperature at a specific layer

## Slide 75
Satellite Temperature and Humidity Soundings

## Slide 76: High-Resolution Infrared Radiation Sounder

## Slide 77: Microwave Sounders

## Slide 78: GPS Sounding
A constellation of GPS satellites orbit the earth.
A collection of other satellites can receive the GPS signal
By measuring the delay in time as the GPS signal is bent by the earth’s atmosphere, one can acquire atmospheric density information that can be used to create temperature and humidity soundings.
Can do this with fixed receivers on earth or with receivers on satellites--the COSMIC project.

## Slide 81
During the early 90s, the NWS installed a network of powerful Doppler Weather
radars, a.k.a.
NEXRAD
WSR88D
Weather Radar

## Slide 82: NWS Radar Sites

## Slide 83: Weather Radar
Reflectivity (precipitation intensity)
Doppler Velocities (radial velocities)
Polarimetric Information (precipitation type and other information?
Much more later in class

## Slide 84
Camano
Island
Weather
Radar

## Slide 85: Crowdsourcing of Weather Data
Securing weather data from devices intended for other purposes.
Example: pressure data from smartphones
Example: smartphone reported weather conditons

## Slide 86: Crowdsourcing of Weather Data. The Future?: Smartphone Pressures

## Slide 87: Typical Observation Errors at the Surface (Important when doing analyses!)
Sea Level Pressure
  Low-Elevation land stations +-.5 mb
  Ships +- 1-5 mb
Temperature: +-1C
Wind Speed: +-2-5 knots, very light winds often a problem—especially for classical anomemeters.
Relative Humidity: +-10%

## Slide 88: Typical Radiosonde Errors
Geopotential heights:
  700 mb (hPa): 5-10 m
  500 mb 10-15 m
  300 mb 15-20 m
  100 mb 20-30 m
Temperature: +-0.5C
Wind speed: +-5%,+-10 degrees

## Slide 89: Terminology
Direct versus Indirect observations
  Direct: measurement at the location of the instrument
  Indirect: remotely sensed using radiation measurements
Active versus passive remote sensing
  Active: instrument emits radiation, analyzes return
  Passive: analyzes incoming natural radiation

## Slide 90: The END